## General Introduction
Walk-through Energy Audit Checklist: Evaluating Energy Efficiency Opportunities in Commercial buildings
Introduction
The walk-through energy audit data collection checklist is designed to collect and gather the priliminery information of the building which would help further in the detailed energy audit process. The preliminary data contains the information w.r.t. building characteristics, lighting system, heating, ventilation and air-conditioning system, water heating and other equipments installed in the premises. It will also help in understanding how energy is used in the building w.r.t. energy-using systems, identify areas of energy wastage, providing the benchmark for managing the energy, and developing the energy baseline.
Purpose
Gathering the right data, with the appropriate amount of detail, is a key component to realizing the maximum savings from an energy audit. The purpose of this checklist is to assist building premises to collect the required data for energy audit. It can be a baseline for Type 1, 2 or 3 energy audits. The main energy uses in a typical commercial building include building envelope, lighting, HVAC system, water heating system and other plug/ equipment loads. The said checklist covers these primary energy use areas and provide greater insight to the building operations staff using existing information.
Benefits
The preliminary data collection will help in understanding how energy is used in the building w.r.t. energy-using systems, identify areas of energy wastage, providing the benchmark for managing the energy, and developing the energy baseline.
Outcome
The outcome of walk through energy audit checklist is a set of insights that can help building premises become more energy efficient, identify and prioritize energy conservation measures (ECMs) based upon their impact, cost-effectiveness and feasibility and estimate annual energy and cost savings.
Instructions
To carry out walk-through energy audit, the first step is the collection of relevant data w.r.t. different energy systems used in the building. It helps in gathering and understanding about the building design, its size, type and equipment inventory and based upon the collected data, energy savoing measures are identifed w.r.t. each of the building energy system. Therefore, the develoepd walk-through energy audit checklist covers such aspects and provides the information bifurcated into following 5 sub-sections:
1. Building | The sheet provides the general building characteristics and energy use parameters divided into following sub-sections: 1.1 General information 1.2 Site data 1.3 Building Construction Properties (check all that apply) 1.4 Energy meter related infromation 1.5 Annual utility consumption 1.6 Transformer details 1.7 Energy audit information
2. Lighting | The sheet provides the description of predominant fixture, inventory data, source types and operating schedule of the luminaires used in the building. It covers the following sub-sections: 2.1 Lighting Equipment Inventory Checklist
3. HVAC | This section provides the information w.r.t. inventory data for HVAC system and details of the associated HVAC system installed in the building. The following sub-sections wr.t. HVAC are covered as: 3.1 General information 3.2 Chiller details 3.3 Pumping system details 3.4 Cooling tower details 3.5 Air handling unit (AHU) details
4. Hot Water Heating System | It provides the inventory information, type of source, electricity related data and other parameters for catering hot water requirement in the building as: 4.1 Hot Water Heating System Equipment Checklist
5. Other Equipment | The said section covers the description of the information/ data for the other equipments installed in the building sub-divided into: 5.1 Service Equipment 5.2 Office/IT Equipment 5.3 Laundary Equipment 5.4 Other Equipments

## Instructions
Walk-through Energy Audit Checklist: Evaluating Energy Efficiency Opportunities in Commercial buildings
X. General Heading
X.X Heading Level-2
X.X.X | Heading Level-3
This Background color is defined for informative purpose. Need not to be recorded. |  | There are several drop down options available for the responses. Please read them carefully and limit your response according to the dropdown options.
This Background color is defined as to read the text carefully and respond it from given drop-down menu options.
This Text color denotes the calculated numbers/values using formula's and need not to be filled.
This background color is editable and a corresponding value must be entered into the sheet. Wherever the value is not mentioned, a justification for the same should be provided in the “Notes” section.
Note that throughout these worksheets, common information from cells are linked and should automatically update. Only cells shaded in blue need to be entered manually. Entering values into any other cells will override pre-determined formulas, so some cells are protected to prevent accidental over-writing of formulas.

## 1. Building
1. Basic Information about Building
1.1 General Information
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Name of the building | - |  | -
Address of the building | - |  | -
Contact Person and Designation | - |  | -
Telephone No. | - |  | -
Email ID | - |  | -
Building Year of construction |  |  | -
Year when last major renovation done (if applicable) | # |  | -
Any Expansions planned in the next 3 years? | - | Please select from drop down | -
If yes, please provide brief information | - |  | -
Whether building is owned |  | Please select from drop down | -
Whether building is leased |  | Please select from drop down | -
If yes, when is the lease up for renewal (date/year)? |  |  | -
How long does the lease contract last (years)? |  |  | -
1.2 Building Data
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Building Typology | - | Please select from drop down
Building Orientation |  | Please select from drop down | It is a classification system used to categorize buildings based on their function, form, and construction. It is a way of grouping similar types of buildings together and analyzing their characteristics and features.
Building longer façade orientation |  | Please select from drop down | Orientation of front wall of a building which contains the main entrance
Total No. of Floors | # |  | It refers to the number of accessible floors in a structure, excluding attics, crawl spaces, and basements
Gross Floor area | Square Meter |  | Total floor area within a building, measured to the external face of the external walls. This includes all enclosed spaces, such as basements, common areas, stairwells, restrooms, and storage rooms.
Conditioned floor area | Square Meter |  | Total floor area of a building's enclosed conditioned space, measured at the exterior surfaces of the exterior walls. It includes the floor area of all conditioned and indirectly conditioned spaces on all floors of building.
Total Built-up area | Square Meter |  | Total area of a building, including the built-up structures and sometimes any additional outdoor constructions like balconies, verandas, and covered terraces.
Total Carpet area | Square Meter |  | Total area of the usable space within the walls, excluding areas covered by walls and balconies.
Percentage of Floor area that is cooled | % | #DIV/0!
Operating hours per day | Hours/day | Please select from drop down | Average daily operating hours per day
Operating days per week | Days/week | Please select from drop down | Average days operating per week
Operating days per year | Days/year | #VALUE!
Number of daily shifts carried in the building | # | Please select from drop down | Assuming each shift is between 8-9 hours only.
Total Number of Occupants | # |  | -
Total occupancy per shift | # |  | -
Building roof type | - | Please select from drop down | A cool roof is a roof that's designed to reflect more sunlight and emit heat than a traditional roof, which helps keep a building cooler. A green roof, also known as a living or vegetated roof, is a roof that's partially or fully covered with vegetation and a growing medium.
Type of glazing on building façade | - | Please select from drop down | Building glazing refers to the installation of glass in fixed openings, such as windows and doors.
Building window to wall ratio (WWR) | - | Please select from drop down | WWR is the ratio of vertical fenestration area to gross exterior wall area. Gross exterior wall area is measured horizontally from the exterior surface; it is measured vertically from the top of the floor to the bottom of the roof.
1.3 Building Construction Properties (Check all that apply)
Roof Construction |  | Floor Construction | Wall Construction | Wall Insulation | Notes/ Remarks by User
Yes
No
Fenestration Frame Type |  | Fenestration glass type | Foundation Type
1.4 Energy Meter Related Information
Particulars | Units | User Input | Short Description | Notes/ Remarks by User
The organization receives monthly bills based on energy meter readings | - | Please select from drop down | -
Meters are read regularly by on-site staff | - | Please select from drop down | -
Bills are compared to monthly meter readings on a regular basis | - | Please select from drop down | -
Is building having separate meters for different feeders/floors/occupants? | - | Please select from drop down | -
A Building Automation System is in place and used to track utility data regularly | - | Please select from drop down | -
Is the building sub-metered? | - | Please select from drop down | -
Does the building have automated 15-minute interval or SMART meters | - | Please select from drop down | -
1.5 Annual Utility Consumption
1.5.1 Electricity Consumption
Particulars | Units | User Input | Short Description | Notes/ Remarks by User
Name of Electric Utility Company | - |  | -
Name of Gas Utility Company | - |  | -
Type of Power connection | - | Please select from drop down | -
Total Connected Load | kW |  | Connected load is the total amount of energy consumed by all devices and systems in a building when they are all operating simultaneously. It is the maximum load that all the equipment and appliances can handle at a given time.
Total Contract Demand | kVA |  | A contract load is the maximum amount of electricity that a customer expects to use at their premises. It can also be defined as the total energy supply that is offered to a meter.
Building Maximum Demand | kW or kVA |  | A building's maximum demand is the highest amount of electrical power consumed during a specific period of time. It's measured in kilowatts (kW) and is usually the average of the highest demand over a 15-minute interval during a billing period.
Building Annual Electricity consumption | kWh/year |  | Please provide the electricity bills past 2 years
Percentage of electricity sourced from grid | % | #DIV/0!
Has the building installed any Renewable Energy (RE) source for electricity generation? | - | Please select from drop down | -
If yes, please specify the source of RE generation | - | Please select from drop down | -
If yes, what is the installed capacity of RE source in the building? | kW
Building Annual Electricity generation from the RE source | kWh/year
Building Annual Electricity consumption from Renewable Energy (Please provide the RE details for past 2 years) | kWh/year
Percentage of electricity sourced from RE source | % | #DIV/0!
Rating of DG sets installed in the building | kVA
Make of DG sets | -
Total No. of DG sets installed in the building | #
Mode of operation of DG sets | - | Please select from drop down
Monthly operating hours of DG sets | Hours
Annual operating hours of DG sets | Hours
Building Annual Electricity Consumption from DG sets (Please provide the electricity consumption and cost details for past 2 years) | kWh/year
Percentage of electricity sourced from DG | % | #DIV/0!
Building Electricity Tariff/ Rate | USD/kWh |  | An electricity tariff is a schedule of prices that determines how much a consumer is charged for using electricity.
Building Annual Electricity Bill (Please provide the electricity bills past 2 years) | USD
1.5.2 Fuel Consumption (e.g. Natural gas (NG), Diesel, Furnace Oil (FO), Other)
Particulars | Units | User Input | Short Description | Notes/ Remarks by User
Type of fuel |  | Please select from drop down
If type of fuel used is not from the above said list, please specify the name of 'other' fuel
Purpose of Use
Annual Fuel Consumption (Please provide the fuel consumption and cost details for past 2 years) | SCM for NG kL for Diesel kg for Steam
1.6 Transformer details
Particulars | Units | User Input | Short Description | Notes/ Remarks by User
Type of transformer |  | Please select from drop down
Type of transformer winding |  | Please select from drop down
Mention the no-load and full-load losses
Year of installation of transformers
Please specify the failure rate of transformers
Make of Transformers
Whether the metering is done on the transformers? |  | Please select from drop down
If yes, please specify no. of meters and make of meters
Total Rating of transformers | kVA
Average loading of each of the transformer | %
Voltage Ratio | %
Transformer efficiency | %
1.7 Energy Audit information
Particulars | Units | User Input | Short Description | Notes/ Remarks by User
Has an Energy Audit been carried out at the site in the last 5 years? | - | Please select from drop down
If yes, please provide the following details: (i) Auditing agency responsible for conducting the audit (ii) Copy of report. (iii) List of recommended energy conservation measures (ECM) along with their energy saving and GHG emissions reduction potential and investment proposed | -
Does the building have implemented ECM measures? | - | Please select from drop down
If yes, please specify the following:
(i) What are the ECM measures?
(ii) What is the annual energy savings (kWh)?
(iii) What is the annual cost savings (US $)?
(iv) What is the GHG emissions reduction (tCO2/kWh)?
(v) What is the investment cost made? (US $)
If no, what is the reason for not implementing the ECM measures? | - | Please select from drop down
Built up with concrete deck
Built up with metal deck
Built up with wood deck
Metal surfacing
Shingles/Shakes
Other
Metal
Metal with thermal breaks
Wood/Vinyl/Fiberglass
Other
Concrete (above unconditioned space)
Slab on grade
Steel joist
Wood frame
Other
Single pane
Double pane
Double pane with low e
Triple pane
Brick/stone on masonry
Brick/stone on steel frame
Brick/stone on wood frame
Metal panel / Curtain wall
Sliding on steel frame
Triple pane with low e
Sliding on wood frame
Slab on Grade
Crawlspace
Basement
Unknown
Other
Other
Other
Exterior Glass Doors***

## 2. Lighting
2. Basic Information about Lighting
2.1 Lighting Equipment Inventory Checklist
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Do you have inventory data for lighting installed in the building? | - | Please select from drop down
If yes, please specify the following information
Is your facility using the most energy efficient lighting options? | - | Please select from drop down
Are there areas that have excessive or unneeded lighting? | - | Please select from drop down
Are you making effective use of available lighting, such as natural sunlight? | - | Please select from drop down
Have you installed lighting management equipment such as dimmers, timers and sensors? | - | Please select from drop down
Type of Luminaire (Select all that apply) |  | CFL | Luminaire is a complete lighting unit consisting of a lamp or lamps together with the housing designed to distribute the light, position and protect the lamps, and connect the lamps to the power supply
Fluorescent T5
Fluorescent T8
High Pressure Sodium Vapor (HPSV)
Incandescent Bulb
Halogen
Induction
LED
Mercury Vapor (MV)
Metal Halide (MH)
Other
Type of Ballast (Select all that apply) |  | Recessed | Ballast is a device used in conjunction with an electric-discharge lamp to cause the lamp to start and operate under proper circuit conations of voltage, current, waveform, electrode heat, etc
Suspended
Surface Mount
Other
Type of Lighting Control
Total No. of fixures/ luminaires | #
Total Wattage/ Lighting Connected Load | kW
Daily Operating hours of indoor lights | hours/day
Daily Operating hours of outdoor lights | hours/day
Total Daily Electricity Consumption from Lighting | kWh/day
Annual Lighting Electricity Consumption | kWh/year
Building Average Lighting Power Density (LPD) | W/Square Meter |  | LPD is the maximum lighting power per unit of area of a building classification of space function.
Type of Lighting Control |  | Manual
Photocell
Timer
Occupancy Sensor
Dimming
Step-Dimming
Other
Installation area of luminaire |  | Office
Hallways
Exterior
Other

## 3. HVAC
3. Heating, Ventilation, and Air Conditioning (HVAC) System Equipment Inventory Checklist
3.1 General Information
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Do you have inventory data for HVAC system installed in the building? |  | Please select from drop down
If yes, please specify the following information
Is HVAC system operating efficiently? |  | Please select from drop down
Is there a regular maintenance and update schedule for these systems? |  | Please select from drop down
Are filters replaced regularly? |  | Please select from drop down
Is the building properly ventilated? |  | Please select from drop down
Type of Cooling distribution equipment system installed in the building |  | Please select from drop down
Type of Cooling source |  | Please select from drop down
Type of compressor |  | Please select from drop down
Type of condenser |  | Please select from drop down
Type of Heating source |  | Please select from drop down
Type of heating fuel |  | Please select from drop down
If other, please specify the heating fuel | -
3.2 Chiller details
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Type of Chiller |  | Please select from drop down
Total no. of Chillers installed in the building | #
Rating/ Capacity of Chillers | TR
Make of Chillers | -
Please specify the Type of Refrigerant used
Energy Efficiency Ratio (EER) of chillers | kW/TR |  | EER is the ratio of net cooling capacity (in BTU) to total rate of electric input (in watts) under designated operating conditions
Is it VFD control? |  | Please select from drop down | A variable frequency drive (VFD) is an electronic device that controls the speed of an AC induction motor by changing the frequency and voltage of the power supply.
What fuel type does the system use? |  | Please select from drop down
Is the system air cooled or water cooled? |  | Please select from drop down
How is the system controlled ? |  | Please select from drop down
3.3 Pumping System details
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Type of Pump |  | Please select from drop down
Purpose of Use
Total no. of pumps installed in the building
Rating/ Capacity of Pumps | kW
Make of Pumps
Pump Efficiency | %
Is it VFD control? |  | Please select from drop down
If no, what type of control system is installed?
3.4 Cooling Tower (CT) details
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Make of Cooling Tower
Purpose of Use
Heat rejection type in CT |  | Please select from drop down
Total no. of cooling towers installed in the building | #
Heat rejection capacity of cooling tower | TR
Type of fan |  | Please select from drop down
Please specify the Type of Fan drive used
Is VFD installed on fan? |  | Please select from drop down
If no, what type of control system is installed?
Type of fluid cooler |  | Please select from drop down
3.5 Air Handling Unit (AHU) details
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Make of AHUs installed in the building | -
Purpose of Use | -
Heat rejection capacity (TR) | TR
Total no. of AHUs installed in the building | #
CFM rating of AHUs | CFM
Type of AHU |  | Please select from drop down
If the type of AHU is more than one list down here. | -
Type of heating source | -
Type of cooling source
Type of control |  | Please select from drop down

## 4. Hot Water Heating System
4.Hot Water Heating System
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Do you have inventory data for hot water system installed in the building? | - | Please select from drop down
If yes, please specify the following information
What is the source | - | Please select from drop down
Type of water heating system installed in the building | - | Please select from drop down
If electricity, please specify the following:
Total no. of electric based water heating system installed in the building? | #
What is the rating/total connected load of water heating system? | kW
What is the monthly energy consumption of water heating system? | kWh/month
Daily operating hours | hours/ day
If solar, please specify the following:
Total no. of solar water heating system installed in the building? | #
What is the installed capacity solar water heating system? | kW
What is the monthly energy consumption of water heating system? | kWh/month
Daily operating hours | hours/ day
Please specify, what is the monthly quantity of gas/ other fuel used for water heating? | kg or kL
What is the total building's hot water requirement? | kL
Please specify the Make of hot water heating system installed in the building | -
What is the tank capacity? | kL
What is the efficiency rating? | %
How old is the water heating system? | years
Does the tank have an external insulation jacket? |  | Please select from drop down
What is the average hot water temperature? | Degree Celsius
Is there any recirculation pump installed along with the system? |  | Please select from drop down
If yes, please specify the type of control |  | Please select from drop down
What is the average recirculation time? | Minutes or seconds

## 5. Other Equipments
5. Other Equipment Inventory Checklist
5.1 Service Equipment
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
No. of lifts/ escalators/travelator used in the building | #
Year of installation | year
Type of lifts/ escalators/travelator used in the building | - | Please select from drop down
Total Connected Load for each of the lifts/ escalators | kW
Monthly Electricity consumption | kWh/month |  | (Please provide the electricity consumption details for past 2 years)
Frequency of use | #
Standby Power of lifts/ escalators/travelator used in the building | Watts or kW
5.2 Office/ IT Equipment
Type of Office/ IT Equipment (Select all that apply) |  | Desktop computer
CRT Monitor
LED Monitor
Laptop
Laser Printers
Copy Machines
Fax Machines
Scanner/Projector
TV
Mini Fridge
Vending Machine
Water Coolers
Chargers
Coffee Makers
UPS
Servers
Heaters
Desktop Fan
Other
Make and Model of Office/IT equipment | -
Size of monitor | - | Please select from drop down
Total Connected Load of Office/IT Equipment | kW
Operating hours of Office/IT equipment | hours
Annual Energy Consumption of Office/IT Equipment | kWh/year
5.3 Laundry Equipment
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Type of equipment | - | Please select from drop down
If the type of equipment is more than one for the above question, list down here | - | Please select from drop down
Total quantity of the selected equipment | #
Capacity | kg or lt. or kW
Total Connected Load of Laundry Equipment | kW
Annual Operating hours | hours/ year
Annual Energy Consumption of laundry equipment (kWh) | kWh/year
5.4 Other Equipment
Particulars | Units | User Input | Guidance | Notes/ Remarks by User
Type of equipment | - | Please select from drop down
If the type of equipment is more than one for the above question, list down here | - | Please select from drop down
Please specify the name and use of the particular equipment from the above said selected type | -
Total quantity of the selected equipment | #
Total Connected Load | kW
Annual Operating hours | hours/ year
Annual Energy Consumption | kWh/year

## taxonomy
Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
North | Shopping Complex | 8 hours | 5 days | 1 Shift | North-South | 10% | Cool roof
South | Cold Storage | 12 hours | 6 days | 2 Shifts | East-West | 20% | Green roof
West | Office | 24 hours | 7 days | 3 Shifts | NorthEast-SouthWest | 30% | Standard Roof
East | Financial service sector |  |  |  | SouthEast-NorthWest | 40%
East-West | Office and pharmaceuticals |  |  |  | Other | 50%
North-South | Educational Institution |  |  |  |  | 60%
| Healthcare |  |  |  |  | 70%
| Entertainment |  |  |  |  | 80%
Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
Single glazed | Yes | MV | Continous | Natural gas | AHU
Double glazed | No | LV | Standby | Diesel | Constant Volume
Triple glazed |  | 1-phase |  | Furnace Oil | VAV
No glazing |  | 3-phase |  | Purchased Steam | Hydronic to zone
Please select from drop down | Please select from drop down | Please select from drop down |  | Other | Refrigerant to zone
Dry-type | Aluminium | Not Economically Attractive |  |  | Hydronic AHU
Oil-type | Copper | Cost Too High |  |  | DX AHU
Other |  | Lack of Funds |  |  | Other
Other
Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
Compact Fluorescent Lamp (CFL) | Electronic | Recessed | Manual | Office | No cooling | Screw | Air
Fluorescent T5 | Magnetic | Suspended | Photocell | Hallways | DX cooling | Centrifugal | Water
Fluorescent T8 | Other | Surface Mount | Timer | Exterior | Central plant | Reprocating | Ground
High Pressure Sodium Vapor (HPSV) |  | Other | Occupancy Sensor | Other | Chiller | Scroll | Evaporative
Incandescent Bulb |  |  | Dimming |  | District Chiller | Other | Other
Halogen |  |  | Step-Dimming |  | Other
Induction |  |  | Other
Light Emitting Diode (LED) |  | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
Mercury Vapor (MV) |  | No heating | Electricity | Electricity | Air cooled | Manually | Primary Chilled
Metal Halide (MH) |  | Central furnace | Gas | Gas | Water cooled | Direct Digital Control (DDC) | Secondary Chilled
Other (e.g., Plasma, OLED, etc.) |  | Heat Pump | Oil | Oil |  | Pneumatic | Condenser Chilled
|  | Central plant | Other | Other |  | Other
Please select from drop down |  | District steam
Wind |  | Hotwater
Biomass |  | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
Other |  | Induced draft | Centrifugal | Belt | Air cooled | Variable air volume (VAV) | Digital Thermostat | Direct fired
|  | Forced draft | Propeller | Direct | Evaporative cooled | Constant air volume (CAV) | On-Off | Indirect fired
|  | Natural draft | Other | Gear |  | Other | Other | Heat pump
|  | Wetted media | [5 empty] | Other
Other
|  | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down | Please select from drop down
|  | Electricity | Continous | Hydraulic | Desktop computer | CRT-15 | Washing Machine | Kitchen Equipment
|  | Solar | Tempertaure | Traction | CRT Monitor | CRT-17 | Dryer | EV charging
|  | Gas | Timer | Geared | LED Monitor | CRT-19 | Other | Biomass
|  | Other | Other | Gearless | Laptop | CRT-21 |  | Rooftop Solar
|  |  |  | Regenrative lift | Laser Printers | LED-15 |  | Laboratory Equipment
|  |  |  | Sensor based | Copy Machines | LED-17 |  | Other
|  |  |  | Other | Fax Machines | LED-18
[5 empty] | Scanner/Projector | LED21
TV
Mini Fridge
Vending Machine
Water Coolers
Chargers
Coffee Makers
UPS
Servers
Heaters
Desktop Fan
Other